| COMPANY |  |
| --- | --- |
| MECHANIC: |  | DATE: |  |
| FROM COMPRESSOR NAMEPLATE: |
| NEW MODEL NO.: |  |
| NEW SERIAL NO.: |  |
| VOLTAGE: |  |
| OLD MODEL NO.: |  |
| OLD SERIAL NO.: |  |

CHECK LIST

ELECTRICAL COMPONENTS

A. CONTACTORS

| CHECK CONTACTS | OK | NOTE |
| --- | --- | --- |
| CHECK OPERATION | OK | NOTE |
| CHECK CONNECTIONS | OK | NOTE |

B. TIMERS

| CHECK ANTI-CYCLE TIMER | OK | NOTE |
| --- | --- | --- |
| CHECK P/W TIMER | OK | NOTE |
| LENGTH OF DELAY ________SEC. |

C. FUSES OR BREAKER

| CHECK SIZE | OK | NOTE |
| --- | --- | --- |
| CHECK CONNECTIONS | OK | NOTE |

D. DRY RUN OF COMPRESSOR

| CHECK CONTROL CIR. OPERATION | OK | NOTE |
| --- | --- | --- |
| CHECK FOR OIL FAILURE DROP-OUT | OK | NOTE |
| CHECK PHASE MONITOR | OK | NOTE |

E. CRANK CASE HEATER

| CHECK OPERATION | OK | NOTE |
| --- | --- | --- |
| AMP ____________ |
| OFF WHEN COMPRESSOR IS ON | OK | NOTE |

REFRIGERANT CIRCUIT COMPONENTS

A. THERMOSTATIC EXPANSION VALVE

| CHECK REMOTE BULB LOCATION | OK | NOTE |
| --- | --- | --- |
| CHECK SIZE | OK | NOTE |
| CHECK BULB INSULATED | OK | NOTE |
| EQUALIZING TUBE LEAKING | OK | NOTE |

B. LIQUID LINE DRIER

| SIZE | OK | NOTE |
| --- | --- | --- |
| CHANGED | OK | NOTE |
| PRESSURE/TEMP DROP | OK | NOTE |

C. SUCTION LINE DRIER

| SIZE | OK | NOTE |
| --- | --- | --- |
| CHANGED | OK | NOTE |

D. EVAPORATOR AND CONDENSOR

| EVAPORATOR CLEAN | OK | NOTE |
| --- | --- | --- |
| CONDENSOR CLEAN | OK | NOTE |
| CHECK EVAPORATOR PULLEYS | OK | NOTE |
| CHECK BELTS | OK | NOTE |

E. SOLENOID VALVES

| CHECK WIRING | OK | NOTE |
| --- | --- | --- |
| CHECK FOR LEAK-BY | OK | NOTE |

SAFETY CONTROLS

A. HIGH PRESSURE

| CHECK OPERATION | OK | NOTE |
| --- | --- | --- |
| PRESSURE SETTINGS | CUT IN ___________ CUT OUT__________ |
| MANUAL RESET | OK | NOTE |

B. LOW PRESSURE

| CHECK OPERATION | OK | NOTE |
| --- | --- | --- |
| PRESSURE SETTINGS | CUT IN ___________ CUT OUT__________ |

C. OIL PRESSURE

| CHECK OPERATION | OK | NOTE |
| --- | --- | --- |
| CUT OUT TIME | 60 | 90 | 120 | 240 |
| PRESSURE SETTINGS |  |

OPERATING DATA

A. COMPRESSOR CONTACTOR VOLTAGE

|  | #1 CONTACTORS |  | #2 CONTACTORS |
| --- | --- | --- | --- |
| L1-L2 |  |  |  |
| L1-L3 |  |  |  |
| L2-L3 |  |  |  |

B. COMPRESSOR AMPERAGE

|  | #1 CONTACTORS |  | #2 CONTACTORS |
| --- | --- | --- | --- |
| L1 |  |  |  |
| L2 |  |  |  |
| L3 |  |  |  |

Allow compressor to run for 30 minutes, then obtain the pressures and body temperature at the locations shown below. Check for proper oil return in sight glass.